## Slide 1
DDGs:
Nozzle
Pump Lamps
Pump QSw
Probe Lamps
Probe QSw
NI-Card 6024e
Delay Generator GUI
SitzLabExpControl
NI-Card 6602
Arduinos (5)
SMs:
KDP (R/W)
BBO (R/W)
PDL (W)
Analog Inputs:
MCP
Photodiode
Xtals Powermeter
Dye Powermeter
Stepper Motor Server
Delay Generator Server
Voltmeter Server
Voltmeter GUI
libraries
Daqmx/sitz
SM GUI
Autobahn/
config
Wavelength
Server
Crystal
calibrator
Apps
SmartScan
SMs:
PDL (R)
Lid (R/W/Relay)
Polarizer (R/W/Relay)
Tracking GUI
Polarizer
Server
Polarizer GUI
Delay Generator Client
Polarizer Client
SM
Client
Tracking Client
Voltmeter Client
Suite-Specific
Mini-libraries

## Slide 2
KDP Stepper
(InRAD channels #-#)
NI-Card
kdpserver
steppermotorconsoleclient
trackinggui
Stepper Motor Process (except lid)
PDL Stepper
BBOStepper
(InRAD channels #-#)
bboserver
pdlserver
steppermotorserverconfig
Server choice
Tracking?
yes
steppermotorserver
KDP/BBO
steppermotorclient

## Slide 3
KDP Stepper
(InRAD channels #-#)
NI-Card
steppermotorconsoleclient
Tracking gui
Stepper Motor Process (except lid)
PDL Stepper
BBOStepper
(InRAD channels #-#)
steppermotorserverconfig
Tracking?
yes
steppermotor server
steppermotorclient
bbosteppermotor
kdpsteppermotor
pdlsteppermotor
wavelength server

## Slide 4
KDP Thermocouple
NI-Card
voltmeterserver
Analog Input Process
Xtals Power Meter
Gated Integrator (Dye Power)
Gated Integrator (Ions)
Gated Integrator (Ions)
busy
extTrigger
voltmeterguiplus

## Slide 5
Hardware for Indep. Var.
(eg. StepperMotor, DelayGen)
NI-Card
Server(s) for Indep.
Scan GUI
General Scan Process
Hardware for Dep. Var.
(eg. PowerMeter, Gated Integ)
Server(s) for Dep.
ScanObject
ScanInput
ScanOutput
Acquired y-value(s)?
yes
Acquired x-value(s)?
yes
no

## Slide 6
NI 6024
steppermotorscangui
PDL Scan Process
voltmeterserver
ScanObject
StepperMotorScanInput
VoltMeterStatsScanOutput
KDP Stepper
(InRAD channels #-#)
PDL Stepper
BBOStepper
(InRAD channels #-#)
KDP Thermocouple
Xtals Power Meter
Gated Integrator (Dye Power)
Gated Integrator (Ions)
busy
extTrigger
NI 6602
kdpserver
bboserver
pdlserver
tracking enabled?
trackinggui
# shots acquired?
steppermotor (pdl)
steppermotor (kdp)
steppermotor (bbo)

## Slide 7
Time Control Process
Pump Lamps
Mav’s DG Circuit
timecontroller (pump-lamp)
Pump Q-Sw
Probe Lamps
Probe Q-Sw
HV Pulser/
Gated Integ
Mav’s DG Circuit
Mav’s DG Circuit
Mav’s DG Circuit
Mav’s DG Circuit
Ext 20MHz Clock
timecontroller (pump-qsw)
timecontroller (probe-lamp)
timecontroller (probe-qsw)
timecontroller (hvpulse)
timeserver
timegui
Notes to Chris:
timecontroller is a planned object that takes a specified time (as a string? Or as a datetime object?) and converts it to a binary format and communicates via usb to maverick’s delay generator circuit. Analogous to: steppermotor
timeserver manages all of these timecontrollers (asynchronously) by keeping track of currently set delays and handles client requests ‘get-delay’ and ‘set-delay’. Analogous to: steppermotorserver (except with multiple channels)
timegui is a gui client to interface with timeserver. Analogous to: steppermotorgui

## Slide 8
delaygenerator structure
Mav’s DG Circuit
delaygenerator
delaygeneratorserver
setDelay(timeToDelay):
Takes in a time to delay (string)
Converts this to 20b number of 50ns clock cycles
Communicates this over USB
getDelay():
Gives the delay (string) that is set
close():
Closes the COM port carrying USB communications

## Slide 9
delaygeneratorserver structure
delaygenerator
delaygeneratorserver
delaygeneratorclient
setDelay(timeToDelay):
Takes in a time to delay (string)
Converts this to 20b number of 50ns clock cycles
Communicates this over USB
getDelay():
Gives the delay (string) that is set
removeDelay():
Closes the COM port carrying USB communications
addDelay():
Create a delaygenerator and store it in the dictionary

## Slide 10
Probe Lamps
Chopper Sync
width: 20μs
t=0s
Nozzle Open
width: 600μs
t=4.1ms
Pump Lamps
width: 14μs
t=5.454ms
Pump Q-Switch
width: 14μs
t=5.681ms
width: 14μs
t=5.449ms
Probe Q-Switch
width: 14μs
t=5.681ms
Δt=227μs
Δt=232μs

## Slide 11
source
buffer
main
nozzle
skimmer
chopper
isolation
valve
seals
seals

## Slide 12
diffusion
pump
diffusion
pump
roughing
pump 1
roughing
pump 2
turbo pump
bypass
gate
braking
roughing
pump 3
source
buffer
main
nozzle
isolation
valve
seals
seals